## 3201
Question ID | Description | Type | Response | Result | Time Spent | Date/Time
Q_1 | Which of the three PS6610 models, PS6610E, PS6610X, and PS6610XS, supports solid-state disks? | Multiple Choice | PS6610XS | Correct | 0:00 | 2015-07-10T13:27:19
Q_0 | The PS6610 supports EqualLogic firmware versions 7.0 and 8.0. | True-False | FALSE | Correct | 0:00 | 2015-07-10T13:27:22
Q_2 | Which component is used in the PS6610 array that is not used in earlier PS6xxx arrays? | Multiple Choice | Sideplane | Correct | 0:00 | 2015-07-10T13:27:30
Q_13 | Fan modules are hot-swappable, but replacements can be done only one at a time and each replacement must be completed within 2 minutes. | True-False | TRUE | Correct | 0:00 | 2015-07-10T13:27:37
Q_4 | When you install disks in a drawer, some slots in a populated row can be empty. | True-False | FALSE | Correct | 0:00 | 2015-07-10T13:27:41
Q_11 | What is the minimum number of drives supported in the PS6610? | Multiple Choice | 28 | Correct | 0:00 | 2015-07-10T13:27:44
Q_6 | Before you open a drawer in the PS6610, what should you check to avoid potential data loss or drive failure? | Multiple Choice | Temperature Waming | Correct | 0:00 | 2015-07-10T13:27:47
Q_7 | The sideplane status indicator is on the front of the system. | True-False | TRUE | Correct | 0:00 | 2015-07-10T13:27:50
Q_8 | When you apply chassis labels to the PS6610, what are the three labels for the top drawer? | Multiple Choice | 00-13, 14-27, 28-41 | Correct | 0:00 | 2015-07-10T13:27:52
Q_9 | You must apply new labels when you replace a chassis. What are the locations that need labels? | Multiple Choice | Top of rear ch... | Incorrect | 0:00 | 2015-07-10T13:27:56
Q_10 | When you replace the chassis, the sideplane must have a Service Tag programmed into the firmware. | True-False | TRUE | Correct | 0:00 | 2015-07-10T13:28:02
Q_5 | To ensure proper cooling when you replace a power supply unit, you must complete the replacement within how many minutes? | Multiple Choice | 5 | Correct | 0:00 | 2015-07-10T13:28:06
Q_12 | To ensure proper cooling of the PS6610, how many fan modules must be installed? | Multiple Choice | 5 | Correct | 0:00 | 2015-07-10T13:28:09
Q_3 | To avoid overheating the enclosure and possible data loss when you replace a hot-swappable sideplane, what is the maximum number of minutes the drive drawers can be open? | Multiple Choice | 10 | Correct | 0:00 | 2015-07-10T13:28:11